## Slide 1
Quantifying the Efficacy of Wastewater Alkalinity Enhancement on mCDR and
Acidification Mitigation in a Large Estuary
Jeremy Testa, Casey Hodgkins: UMCES Chesapeake Biological Laboratory
Wei-Jun Cai, Zhendong Ji: University of Delaware
Ming Li, Yuren Chen: UMCES Horn Point Laboratory
Sarah Van Pelt, Robert Izett, Will Burt: Planetary Technologies, Inc.
Charles Bott, Alexandria Gagnon, Riley Doyle: HSRD
Special Thanks: Amanda Moore, Najid Hussain, Zhentao Sun, Omar Sadoon, Alex Whitworth, Greg Rau, Dhruv Mehta, Kat Yetka, Scott Fentress, Daniel Christian, Ian Geeson, Bruce Weckworth,

## Slide 2: Why this project?
There is wide consensus that negative emissions technologies are required in order to meet global warming mitigation goals
marine Carbon Dioxide Removal (mCDR) is being explored as one mode of negative emissions, where manipulations of marine water lead to uptake and long-term sequestration of carbon in the ocean
Despite a rapid movement to build an industry around mCDR, the efficacy and uncertainty associated with mCDR approaches is poorly understood
There is a need to verify the diversity of proposed mCDR ideas

## Slide 3
OAE = Ocean Alkalinity Enhancement

## Slide 4: The Basics of the Approach

## Slide 5
Lime Slurry Ca(OH)2
CO2aq + OH- → HCO3-
HCO3- + OH- → CO32- + H2O
A conceptual model of Ocean Alkalinity Enhancement (OAE) approaches within DIC-TA-pCO2 space

## Slide 6: Wastewater treatment for carbon capture
1000 km3 of wastewater generated globally: 300 km3 discharged as
municipal wastewater and over 600 km3 as industrial wastewater.
Sewage has high DIC (3000-5000 mmol C/kg) and high pCO2 (>10,000 ppm), an important source of coastal acidification (Yang et al. 2018).
Wastewater plants account for 1.6% of greenhouse gas emissions (GHG)
  *0.77 Gt CO2 eq. (Lu et al. 2018).

## Slide 7: Benefits of WWTP as a Vehicle for OAE
Supports existing plant process (nutrient removal) while elevating alkalinity/mCDR
(2) No new permits needed
(3) Low pH in WWTP allows for rapid dissolution, limited precipitation
(4) Low-cost delivery (contrast with transporting material to open ocean)
(5) If alkalinity added upstream, reduced CO2 emission (although ocean uptake will be
limited)
(6) Potential to reduce acidity of discharged wastewater

## Slide 8: Project Overview
Ca(OH)2
Hampton Roads
Sanitation District Facilities

## Slide 9: Two Approaches Process Diagram at VIP
(for
mCDR)
(for
emissions
Reduction)

## Slide 10: “Upstream” versus “Downstream”
High CO2 and CO2 Emissions
Lower alkalinity
No treatment benefit
High alkalinity,
Low CO2
CO2
Add
Alkalinity
Lower alkalinity, high DIC
Add
Alkalinity
Low CO2 and CO2 Emissions
higher alkalinity
treatment benefit
CO2

## Slide 11
SUMO Model for WWTP Process
Estuarine Hydrodynamic-Biogeochemical Model
Estimate mCDR
Estimate
emissions reduction
Discharge
DIC, TA, pH

## Slide 12
SUMO Simulations of Alkalinity Addition

## Slide 13
Estuarine Simulations of Alkalinity Addition
UpAdd
DownAdd

## Slide 14
Synthesis: Differential Impact of Alkalinity Addition on CO2
DnAdd Ocean Uptake
UpAdd Emission Reduction
Total carbon sequestration
=
Total TA Added
Low Focean for upstream
Higher total sequestration for UpAdd

## Slide 15
Two Experiments/Field Trials:
Add alkalinity for 1 week in Oct-Nov 2024:
                *Assess effluent pH/alkalinity response to planned injections
                *Measure estuarine response, CO2 uptake
                *Identify issues, refine sampling plan
(2) Add alkalinity for 4-6 weeks in summer 2025:
  *Longer-term field trial to simulate real application of technology
  *Measure estuarine response, CO2 uptake, oyster tissue
  *Approach operational process for alkalinity addition
Elizabeth River with
VIP in background
VIP Effluent Sampling
Field Trials: 2024 and 2025
Notes: Year 1: Work with Planetary and HRSD to plan alkalinity experimental timing and the chosen wastewater facility.
Year 1: Execute the first alkalinity experiment at the chosen wastewater facility and execute the receiving water MRV and the biological sampling.
Year 1: Perform experimental modeling to test a range of alkalinity additions in the vicinity of the chosen wastewater facility, including the experimental base addition.
Year 1: Review and synthesize the modeling and experimental results and plan the year 2 experiments.

## Slide 16: Fall 2024 Trial at VIP
Timeline: Oct 28 – Nov 2, 2024
Downstream Addition: Oct 28 – Oct 30, 2024
Upstream Addition: Oct 31 – Nov 2, 2024
Total Lime Slurry Usage: ~ 4800 gallon
Dosage Rate (downstream)
35-60 gallons/hour
8 hours a day
Dosage Rate (upstream)
80-200 gallons/hour
24 hours a day

## Slide 17
In Trial 1, we used and “off-the-shelf”
Alkalinity source

## Slide 18
Chart: Time (min)
| 0 | 15 | 30 | 60 | 90 | 120
CaO | 2083.8 | 2859 | 3159.5 | 3255.4 | 3295.9 | 3353.1
PC8 | 2083.8 | 2773.8 | 2907.9 | 2981.3 | 3035.5 | 3083.1
UM10 | 2083.8 | 2516.4 | 2568.5 | 2577.9 | 2600.6 | 2659.2
Pre-Experiment Laboratory Testing
Closed-system experiment with VIP effluent
3 different sources of alkalinity
Quicklime
MgO
Mg(OH)2

## Slide 19
Pre-Experiment: Flow Reactor Design
pH probe
Influent
Lime Addition
Bisulfite Addition
Effluent
1
2
3
4
5
20.7 ft
20.7 ft
16.7 ft
Influent Flow Rate: 4.3 L/min with 1’’ tube
Distance | Design HRT (seconds)
Influent to Lime Addition | 45
Lime Addition to Bisulfite Addition | 45
Bisulfite Addition to Effluent | 36.4
Total | 126.4
*Influent = 30-minute contact tank sample point
1’’ tubing wrapped around PVC Pipe with static mixers after addition points
1
5
4
3
2

## Slide 23
Estuary
pCO2: Underway pCO2 system
Discrete DIC, TA, pH (high and low tide)
Real-time CTD, oxygen, turbidity, fluoresence
Discrete Chl-a, TSS, nutrients, metals
WWTP Outfall
Discrete DIC, TA, pH, pCO2 (hourly-daily-weekly)
Real-time pH, pCO2, turbidity
Discrete pH, metals
Measurement, Reporting, and Verification (MRV)

## Slide 24
Fall 2024 Trial Effluent and Estuary TA

## Slide 25
Fall 2024 Trial
Estuary Conditions

## Slide 26
Fall 2024 Trial Estuary DIC

## Slide 27
Fall 2024 Trial Estuary TA

## Slide 28
The Messy Estuary Part 1

## Slide 30
The Messy Estuary Part 2
Evans et al. 2019
Elizabeth River

## Slide 31
Biological Monitoring

## Slide 32
Conclusions
Modeling suggests that the net CO2 effect of OAE can be bigger by reducing emissions during upstream additions
Downstream OAE successfully increased pH, TA, and DIC in effluent, reduced CO2
Alkalinity and pH increased in estuary during the trial, but some of this likely due to changes not associated with OAE
No obvious biological impacts of the trials
Next Trial planned for 6 weeks in June and July

## Slide 33: Questions?